## Slide 1
DAY 4 OF 5
Real-World Applications & Final Projects
"Professional Test Automation in Practice"
5-Day SDI Lab Automation FDP • v2.0
Mahaveer. Rajendra. Savanur
Head of Engineering & AI Systems
Spruha Build-in Solutions | Powered by Moku:Go — Liquid Instruments

## Slide 2
Day 4 Agenda
Day 4: Real-World Applications
5-Day SDI Lab Automation FDP • v2.0
Powered by Moku:Go — Liquid Instruments
1
8:00 – 8:20
The Automation Journey — Review
2
8:20 – 9:15
Day 2 Capstone Presentations 5–6 min per team
3
9:30 – 11:00
Industry Case Studies + 5 Automation Patterns
4
11:15 – 12:30
Final Capstone: Specs & Team Planning choose Option A, B, or C
5
1:30 – 3:30
Final Capstone Implementation
6
3:45 – 5:00
Final Presentations & Day 4 Close

## Slide 3
The Automation Journey — 4 Days of Growth
Day 4: Real-World Applications
5-Day SDI Lab Automation FDP • v2.0
Powered by Moku:Go — Liquid Instruments
Day 1: Foundations
Osc + WG, loops,
CSV, matplotlib
1
Day 2: Integration
AWG, Logic Analyzer,
MiM fundamentals
2
Day 3: Advanced
Streaming, FFT,
SNR/THD, capstone
3
Day 4: Application
Industry patterns,
final project
4
15+
instrument configurations
8+
guided exercises
2
capstone projects so far
500+
lines of Python written

## Slide 4
Day 2 Capstone Presentations
5–6 minutes per team
Day 4: Real-World Applications
5-Day SDI Lab Automation FDP • v2.0
Powered by Moku:Go — Liquid Instruments
0:30
Problem
statement
1
1:30
Solution approach
MiM routing, code
2
2:30
LIVE DEMO
real data appearing
3
1:00
Results &
time savings
4
0:30
Q&A
5
✓
Evaluation: Functionality 35% • Code 20% • Analysis 15% • Time savings 15% • Presentation 15%
✓
Listeners: note one technique from another team you want to steal

## Slide 5
Industry Case Studies
Day 4: Real-World Applications
5-Day SDI Lab Automation FDP • v2.0
Powered by Moku:Go — Liquid Instruments
Production Line Testing
200 boards/day, manual = 26.7 worker-hrs
Automated: 90 s per board, pass/fail
83% time cut, $100k+ saved/year
"Automation made production possible"
Research Lab
PhD needs 48-hour continuous monitoring
Impossible manually — trivial streaming
Complete dataset, zero gaps, alerts
"Enables impossible experiments"
Teaching Lab
60 students, RC filter Bode plot
Manual: 2.5 h of knob-turning each
Automated: 10 min, rest is analysis
"Students do engineering, not
equipment operation"

## Slide 6
The 5 Industry Automation Patterns
These cover ~90% of test automation you will meet
Day 4: Real-World Applications
5-Day SDI Lab Automation FDP • v2.0
Powered by Moku:Go — Liquid Instruments
1. Parameter Sweep
Vary one input, measure response
Bode plots, V-I curves
2. Pass / Fail
Compare against spec limits
QC, go/no-go, certificates
3. Continuous Monitoring
Stream + alert on thresholds
Environmental, burn-in, drift
4. Calibration
Known input → correction factor
Sensor cal, zeroing, alignment
5. Batch Testing
Same sequence, N devices
Production runs, lab groups
Reality
Real systems combine patterns:
your capstone uses at least two

## Slide 7
Pattern Matching Exercise
30 minutes • teams • workbook section 5
Day 4: Real-World Applications
5-Day SDI Lab Automation FDP • v2.0
Powered by Moku:Go — Liquid Instruments
Scenario 1
Sort 200 resistors into
1% / 5% / 10% bins
Scenario 2
Track power supply drift
over 48 hours
Scenario 3
Amplifier gain
10 Hz – 100 kHz
Scenario 4
Correct temp sensor offset
via ice-bath reference
Scenario 5
Verify 50 PCBs meet
voltage-regulation spec
Then discuss
Which pattern(s) fit YOUR lab's
most common measurement?
Most scenarios need MORE than one pattern — say which and why.

## Slide 8
Final Capstone — Choose Your Project
All three ship as complete scripts in scripts/day4/ — extend, don't start from zero
Day 4: Real-World Applications
5-Day SDI Lab Automation FDP • v2.0
Powered by Moku:Go — Liquid Instruments
Option A Component Characterization
MiM: WG + Oscilloscope
Sweep 10 Hz–100 kHz, 30 points
Gain, −3 dB cutoff, roll-off
Bode plot + datasheet report
Manual ~40 min → goal < 5 min
Option B Signal Quality Monitor
Datalogger streaming, 10+ min
Mean / std / Vpp / outliers live
Alert thresholds + alert log
CSV + monitoring report
Manual: impossible → unattended
Option C Production Tester
Oscilloscope + FFT analysis
1 MHz ±1%, ≥0.8 Vpp, ≤5% THD
PASS/FAIL per unit + certificate
Batch summary CSV
Manual 8 min/unit → goal < 90 s
Difficulty: A — solid start • B — intermediate • C — advanced. Rubric: Automation 50 • Technical 30 • Documentation 20 (+10 bonus)

## Slide 9
Final Capstone — Development Guide
120 minutes — checkpoint with the trainer at 2:30 PM
Day 4: Real-World Applications
5-Day SDI Lab Automation FDP • v2.0
Powered by Moku:Go — Liquid Instruments
Phase 1 · 20 min
Connect & configure
verify hardware
1
Phase 2 · 40 min
Core automation loop
data end-to-end
2
Phase 3 · 30 min
Analysis & metrics
derived quantities
3
Phase 4 · 20 min
Reports: CSV, plot,
text summary
4
Phase 5 · 10 min
End-to-end test
error handling
5
Can't connect?
force_connect=True;
check config.py IP
Data looks wrong?
time.sleep(0.1) after
settings change
Code crashes?
try/except with cleanup
in finally
Behind at 2:30?
Cut bonus features,
nail the core loop

## Slide 10
Final Presentations — 3 Minutes Per Team
Strictly timed — practice once before you present
Day 4: Real-World Applications
5-Day SDI Lab Automation FDP • v2.0
Powered by Moku:Go — Liquid Instruments
Minute 1
Problem +
pattern(s) used
1
Minute 2
LIVE DEMO —
automation running
2
Minute 3
Impact: time savings,
semester projection
3
✓
Awards: Best Code • Best Analysis • Most Creative • Best Presentation
✓
End with: would you deploy this in your own lab? What would it take?

## Slide 11
Day 4 Complete — Training Days Done!
What You Achieved Today
✓
Presented two complete capstone systems, live
✓
Mapped the 5 industry patterns to real scenarios
✓
Built a fully automated final project: A, B, or C
✓
Quantified your own time savings and ROI
✓
Zero automation 4 days ago → working test system today
Tomorrow — Day 5 Preview
▸ Moku Custom Instrument (MCC)
▸ Verilog INSIDE the instrument
▸ AI-assisted curriculum mapping
▸ AI-assisted experiment design
▸ Certificates & wrap-up
Tonight
1. Create FREE accounts: claude.ai and chat.openai.com
2. Pick ONE subject you teach — bring its syllabus units
3. Optional: skim scripts/day5/mcc_experiment_guide.md
Spruha Build-in Solutions | Powered by Moku:Go — Liquid Instruments